| Approval and Issue record: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Revision No. | Date | Description (see Revision Record for details) | Author (name) | Approved (name) |
| 04 | 01.04.2024 | New format & criteria added following audit. | B.Ingram (3t) |  |
| Revision Record: |  |  |  |  |
| Revision No. | Description of Revision |  |  |  |
| Proposed Revision by document user: |  |  |  |  |
| Name of Proposer | Revision Suggested (please detail line numbers) |  |  |  |
| Document References relating to equipment/system: |  |  |  |  |
| Document Number | Document Title |  |  |  |
| DOC-CSL-OPS-SSW-001 | Permit to work Procedure |  |  |  |
| CSL-OPS-SSW-018 | Isolation of plant and equipment |  |  |  |
| DOC-CSL-OPS-SSW-003 | Risk Assessment |  |  |  |
| STP-SCI-037-02 | Standard Technical Procedure – Pressure Instruments |  |  |  |
| STP-SCI-037-03 | Standard Technical Procedure – Level Instruments |  |  |  |
| STP-SCI-037-04 | Standard Technical Procedure – Temperature Instruments |  |  |  |
| STP-SCI-037-14 | ​​Standard Technical Procedure – 3B Level 5 & 6 ESD Function Test​ |  |  |  |
| STP-P-017-ROU | ESD Function Testing |  |  |  |
| STP-I-034 | HIPPS ESD System Function Test |  |  |  |
| STP-SCI-025-02 | Actuated Valve Controls |  |  |  |
| PS 03 | Performance Standard |  |  |  |
| STP-I-050a | ESD Functional Testing 8A - Levels 4, 5 & 6 (non-pressurised) |  |  |  |

| Task Details |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Process / Equipment |  |  |  |  |  | Task Name |  |  |  |  |  |  |  |
| Date |  |  |  |  |  | Reassessment? |  |  | Yes ☐ |  | No ☐ |  |  |
| Candidate |  |  |  |  |  | Assessor |  |  |  |  |  |  |  |
| Name |  |  |  |  |  | Name |  |  |  |  |  |  |  |
| Job Title |  |  |  |  |  | Job Title |  |  |  |  |  |  |  |
| Asset |  |  |  |  |  | Asset |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  | Signature |  |  |  |  |  |  |  |
| Assessment Outcomes |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessment Evidence Requirements: |  |  |  |  |  |  |  |  |  | Yes |  | No | N/A |
| 1 | Has the individual been observed carrying out the task? |  |  |  |  |  |  |  |  | ☐ |  | ☐ | ☐ |
| 2 | Does the evidence show ALL skills requirements are met? |  |  |  |  |  |  |  |  | ☐ |  | ☐ | ☐ |
| 3 | Does the evidence show ALL knowledge requirements are met? |  |  |  |  |  |  |  |  | ☐ |  | ☐ | ☐ |
| 4 | Has candidate provided sufficient valid, authentic, reliable, and current evidence? |  |  |  |  |  |  |  |  | ☐ |  | ☐ | ☐ |
| Assessment Outcome |  |  |  |  | Competent ☐ |  |  | Not Yet Competent ☐ |  |  |  |  |  |
| Training needs identified? |  |  |  | Details of Training needs: |  |  | Candidate Comments on Assessment |  |  |  |  |  |  |
| Yes ☐ |  |  | No ☐ |  |  |  |  |  |  |  |  |  |  |
| Assessor Overall Comment |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Assessment Planning / Candidate Briefing |  |  |
| --- | --- | --- |
| Evidence to be Collected | - Records of outputs/ actions arising from observation (primary method) - Written or verbal responses to questions - Evidence of prior work, procedural development - Records of outputs/ actions arising from demonstrations and/ or simulations. |  |
| Candidate to answer and tick the following questions: |  |  |
| Has the purpose and consequences of the assessment been explained? |  | ☐ |
| Has the assessment been planned and given me sufficient time to prepare? |  | ☐ |
| Have the assessment methods been agreed and explained? |  | ☐ |
| Do you understand what evidence is to be collected and why? |  | ☐ |
| Do you understand the assessment procedure and the preparation you should undertake? |  | ☐ |
| Have your rights and the appeal system been explained? |  | ☐ |
| Have you discussed any special needs or conditions to be considered during the assessment? |  | ☐ |
| Are you willing and ready to be assessed? |  | ☐ |
| Have you agreed on a suitable time and place for the assessment? |  | ☐ |
| Do you have any objections to or concerns about the proposed assessor? |  | ☐ |
| The assessment methods for the assessment have been agreed and I understand them? |  | ☐ |
| Due to the availability of process equipment and production requirements, some tasks may require to be simulated as part of the assessment. |  | ☐ |
| The task will be performed in the normal manner and should only be interrupted by the Assessor if safety or production is compromised. |  | ☐ |

| Assessor is to check the relevant methods used: 1. Observed 2. Simulated/Demonstrated 3. Questioned |  | 4. Professional Discussion 5. Witness Testimony 6. Other (Please comment on methods used) | Check Relevant Boxes |
| --- | --- | --- | --- |
| Code | Safety - (Relating to the process / equipment / task) |  |  |
| S. 1.0 | Demonstrate the ability to identify potential hazards associated with ESD Systems, including electrical risks, pressure hazards, and exposure to hazardous substances. |  | 1. 2. 3. 4. 5. 6. |
| S. 1.1 | Understand the various shutdown actions associated with the various ESD Systems at the facility, ensuring rapid and safe response to critical situations. |  | 1. 2. 3. 4. 5. 6. |
| S. 1.2 | Adhere to lockout/tagout procedures when performing maintenance or troubleshooting on ESD equipment to prevent accidental energisation. |  | 1. 2. 3. 4. 5. 6. |
| S. 1.3 | Conduct a suitable risk assessment and proactively identify workplace hazards |  | 1. 2. 3. 4. 5. 6. |
| S. 1.5 | Comply with environmental regulations and best practices in the operation and maintenance of ESD Systems, preventing spills and minimising environmental impact. |  | 1. 2. 3. 4. 5. 6. |
| S. 1.6 | Ensure the correct selection and use of personal protective equipment. |  | 1. 2. 3. 4. 5. 6. |
| S. 1.7 | Inspect and use the right tools and equipment |  | 1. 2. 3. 4. 5. 6. |
| S. 1.8 | Regularly re-assess the site conditions and act when necessary to maintain site safety throughout |  | 1. 2. 3. 4. 5. 6. |
| S. 1.9 | Check to ensure the site is left in a safe / secure condition for others |  | 1. 2. 3. 4. 5. 6. |
| Assessor Comments (provide a summary of the outcomes) |  |  |  |

| Assessor is to check the relevant methods used: 1. Observed 2. Simulated/Demonstrated 3. Questioned |  | 4. Professional Discussion 5. Witness Testimony 6. Other (Please comment on methods used) | Check Relevant Boxes |
| --- | --- | --- | --- |
| Code | Underpinning Knowledge |  |  |
| ESD Systems - Knowledge |  |  |  |
| K. 1.0 | What is the primary purpose of an Emergency Shutdown (ESD) system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.1 | Using the Cause & Effect diagrams, explain the different levels of ESD and how to initiate them? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.2 | Specifically, explain how to activate a Level 4, 5 & 6 ESD and which inhibits are required to ensure the facility remains online whilst testing the key functions? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.3 | Can you explain the key components (architecture) of an ESD system and their respective functions in ensuring a rapid and controlled shutdown during emergency situations? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.4 | Explain the principle of how the ESD system works, including signal processing from the input device, through the logic solver to the outputs of the system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.5 | Describe the difference between a hardwired and a programmable logic based ESD system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.6 | What is meant by the term HIPPS and what is the significance of this system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.7 | How do you verify the integrity and functionality of ESD system sensors? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.8 | Explain what is meant by the term ‘Redundancy’ in ESD systems? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.9 | Describe the 3 different types of scenario’s or situations can initiate an ESD? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.10 | What is the role of Blowdown valves in an ESD system and how do you ensure they have functioned correctly? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.11 | What does the term ‘USD’ stand for? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.12 | What is a Safety Instrumented System (SIS) and what is it’s role? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.13 | Explain what a SIL (Safety Integrity Level) is in the context of ESD systems? How is SIL determined, and why is it crucial for maintaining the required safety levels? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.14 | What is the importance of regular testing and maintenance of ESD systems. What are the common challenges and how would you address them? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.15 | In the event of a false ESD activation or alarm, what troubleshooting steps would you take to identify the root cause and prevent recurrence? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.16 | Explain the steps required for replacing a faulty input card in the system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.17 | Describe possible troubleshooting steps for scenarios likely to be encountered, such as failure of an ESD valve to operate? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.18 | Why is the recording of timing critical in respect of ESDV closure and opening? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.19 | Explain the difference between an inhibit and an override and the procedure for applying and recording them? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.20 | Explain the function of an Interlock? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.21 | Describe how testing is conducted on the sea line ESDV valves, including communication lines, preparation, and re-instatement. |  | 1. 2. 3. 4. 5. 6. |
| K. 1.22 | The maximum response time for the ESD systems, from receipt of an input demand, to change of state at the applicable executive action outputs is what? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.23 | What affect does loss of Normal and Emergency power have on the ESD system? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.24 | If you find a fault or issue relating to the ESD system, who should you report it to? |  | 1. 2. 3. 4. 5. 6. |
| K. 1.25 | Which performance standards would you relate to find the criteria and specifications for blowdown systems? |  | 1. 2. 3. 4. 5. 6. |
| Assessor Comments (provide a summary of the outcomes) |  |  |  |

| Assessor is to check the relevant methods used: 1. Observed 2. Simulated/Demonstrated 3. Questioned |  | 4. Professional Discussion 5. Witness Testimony 6. Other (Please comment on methods used) | Check Relevant Boxes |
| --- | --- | --- | --- |
| Code | Performance Criteria |  |  |
| Prepare Work Areas / Materials / Equipment for Maintenance |  |  |  |
| P. 1.0 | Ensure that the work environment is suitable for the work activities to be undertaken. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.1 | Ensure that all necessary service supplies are connected and ready for use. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.2 | Prepare the work areas so that they are ready for the activities to be carried out. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.3 | Obtain the required materials and check them for quantity and quality. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.4 | Determine how the materials need to be prepared. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.5 | Obtain the required equipment and check them for quantity and quality. |  | 1. 2. 3. 4. 5. 6. |
| P. 1.6 | Carry out the necessary preparations to equipment in line with work requirements. |  | 1. 2. 3. 4. 5. 6. |
| Carry out Planned Maintenance & Adjustments |  |  |  |
| P. 2.0 | Follow the relevant maintenance schedules to carry out the required work. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.1 | Carry out the maintenance activities within the limits of your personal authority. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.2 | Carry out the maintenance activities in the specified sequence and in an agreed time scale. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.3 | Report any instances where the maintenance activities cannot be fully met or where there are identified defects outside the planned schedule. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.4 | Follow the appropriate operating specifications for the equipment being maintained. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.5 | Carry out adjustments within the limits of your personal authority. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.6 | Make the required adjustments in the specified sequence and in an agreed time scale. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.7 | Confirm that the adjusted equipment meets the required operating specification. |  | 1. 2. 3. 4. 5. 6. |
| P. 2.8 | Complete relevant maintenance records accurately, record these in the database and pass any relevant information on to the appropriate person. |  | 1. 2. 3. 4. 5. 6. |
| Remove / Replace Components |  |  |  |
| P. 3.0 | Establish, and where appropriate, mark component orientation for re-assembly. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.1 | Ensure that any stored energy or substances are released safely and correctly. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.2 | Remove the required components using approved tools and techniques. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.3 | Take suitable precautions to prevent damage to components, tools, and equipment during removal. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.4 | Check the condition of the removed components and record those that will require replacing. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.5 | Label and store the removed components in an appropriate location. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.6 | Ensure that any replacement components used meet the required specification. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.7 | Replace the components in the correct sequence using appropriate tools and techniques. |  | 1. 2. 3. 4. 5. 6. |
| P. 3.8 | Make any necessary settings or adjustments to the components to ensure they will function correctly. |  | 1. 2. 3. 4. 5. 6. |
| Fault Finding & Repair |  |  |  |
| P. 4.0 | Describe the fault-finding methods available based on the type of fault and demonstrate the correct fault-finding technique do determine where the fault lies. |  | 1. 2. 3. 4. 5. 6. |
| P. 4.1 | Follow the relevant specifications for the component to be repaired. |  | 1. 2. 3. 4. 5. 6. |
| P. 4.2 | Assess the amount and level of wear or damage to the component and determine what work is required to bring the component back to the specified condition. |  | 1. 2. 3. 4. 5. 6. |
| P. 4.3 | Report on findings and conclusions on the feasibility and cost-effectiveness of repairs. |  | 1. 2. 3. 4. 5. 6. |
| Handover Systems / Equipment following maintenance |  |  |  |
| P. 5.0 | Separate equipment, components, and materials for re-use from waste items and materials. |  | 1. 2. 3. 4. 5. 6. |
| P. 5.1 | Store reusable materials and equipment in an appropriate location. |  | 1. 2. 3. 4. 5. 6. |
| P. 5.2 | Dispose of waste materials in line with organisational and environmentally safe procedures. |  | 1. 2. 3. 4. 5. 6. |
| P. 5.3 | Restore the work areas to a safe condition in accordance with agreed requirements and schedules. |  | 1. 2. 3. 4. 5. 6. |
| P. 5.4 | Confirm and define the condition of the system or equipment in accordance with specifications. |  | 1. 2. 3. 4. 5. 6. |
| P. 5.5 | Produce and maintain records of the hand over in accordance with organisational procedures. |  | 1. 2. 3. 4. 5. 6. |
| Assessor Comments (provide a summary of the outcomes) |  |  |  |

| Additional Assessment Evidence & References (Please reference, scan, and upload the evidence to candidate’s portfolio along with this report) |  |  |
| --- | --- | --- |
| Ref. No. | Type | Title |